Engineering  Circular No. 60

| NO: ENG/MMAM-37(6)/99 | Dated:3rd October, 2005 |
| --- | --- |
| Sub: Procedure for submission of Fire Control Plans, Inert Gas System, COW, ODME, P&A Manuals for Approval of DGS |  |
| Reference is invited to Engineering Circular No. 35, 39 and 46, where in procedures to follow and details required to be submitted along with Fire Control Plans are indicated, however, it has been observed that most of the Fire Control Plans and Manuals submitted to this Directorate are without the following: 1) Required number of Plans / Manuals are not submitted along with the application. 2) Plans / Manuals are submitted having number of deficiencies by third parties. 3) Quantity / Equipment / Location of Fire Control Appliances as mentioned on plan do not tally with the same on board the vessel. 4) Plans/Manuals are not vetted by the company's technical representative and submitted by third party who is not responsible for the management of the vessel. 5) Stipulated fee at the time of submission. In view of above it has been decided that at the time of submitting Plans / Manuals following to be strictly adhered to; 1) Technical representative of the company should confirm that the Plans / Manuals are vetted and same are as fitted on board and meets the present statutory requirements prior submission. 2) All Plans / Manuals shall be submitted directly by Company's Technical Representative and not by the Consultant / Third Party and 3) Fees to be paid as per the Govt. guidelines and in accordance with the relevant D.G. Circular. Fire Control Plans submitted to the Directorate for approval shall be processed only after the receipt of the above information and fees. Moreover, if the Plans / Manuals are found to have any deficiency they will be returned for compliance of deficiency. If the Plans / Manuals are returned/rejected twice for compliance of deficiencies, same will be required to be resubmitted and shall be considered as a fresh application in every instance. This issues with the approval of the Chief Surveyor with the Government of India. Yours faithfully, Sd/- (D. Mehrotra) Dy. Chief Surveyor cum Sr.DDG(Tech) |  |
| Back to ENGG circulars main page |  |